Application documents for the HKI quality label

# Annex A – Application form for the right of use of the HKI-quality label

Technical data

| Candidate: |  |
| --- | --- |
| Number of standard: |  |

| Type designation: |  |
| --- | --- |

| Vending name:. Test laboratory: |  |
| --- | --- |

| Test report-number, Date: |  |
| --- | --- |

Technical data / characteristics

| characteristics |  | Page of test report |
| --- | --- | --- |
| Geometrical dimension [mm] - height x width x depth |  |  |
| Nominal heat output (scope) [kW] |  |  |
| Space heat output (scope) [kW] |  |  |
| Water heat output (scope) [kW] |  |  |
| Water operation pressure [bar] |  |  |
| Distance to combustible walls – wing/ back/ top/ front [each with mm] |  |  |
| Multiple occupancy (yes/no) |  |  |
| fuel - wood / wood briquettes brown coal briquettes other |  |  |
| Temporary burning- (Z) / slow combustion stoves (D) |  |  |
| Flue gas temperature on connector [°C] |  |  |
| Flue gas mass flow [g/s] |  |  |

Efficiency and emissions (emissions based to 13% O2):

| For the combustibles | CO in g/Nm3 | NOx in g/Nm3 | CnHm in g/Nm3 | dust in g/Nm3 | η in % |
| --- | --- | --- | --- | --- | --- |
| wood |  |  |  |  |  |
| brown coal briquettes |  |  |  |  |  |

Proof of the thermic prior charge of the heating appliance before the NWL-test

- verified through test report (page of the test report     )

- verified through declaration by the manufacturer

Proof of the requirement of durability

- verified through test report (page of the test report     )

- verified through declaration by the manufacturer

Proof of the requirement of the manual

- verified through declaration by the manufacturer and sample (included in the annex)

| Place and date |  |
| --- | --- |

| stamp and signature of the manufacturer |  |
| --- | --- |

We confirm mandatorily with our signature that we still produce our appliances like the tested

types named above.

We confirm furthermore that we accept the basic principles of the certification, especially in point 8.8.

# Annex B – Form for the evaluation of the leakage rate of the reference appliance

| company: |  |
| --- | --- |
| Number of standard: |  |
| Type designation: |  |
| Serial number: |  |
| Test laboratory / QM-manager: |  |
| Head of test laboratory / head of QM: |  |
| (test)report-number, date: | , |
| Date, Signature head of test laboratory / head of QM: | , |

Description for blinding the appliance

| (total- / primary)air connector Secondary air connector / -slash / -entry (description) Tertiary air connector / -slash / -entry (description) other 1 other 2 Annex– picture of binding | / / / / / |
| --- | --- |

| characteristics |  | Page of the (test)report |
| --- | --- | --- |
| Leakage of the reference appliance from manufacturing [m³/h] |  |  |

# Annex C – submission for the annual documentation of the production control

| company: |  |
| --- | --- |
| Number of standard: |  |
| Type designation: |  |
| Test laboratory / QM-manager: |  |
| Head of test laboratory / head of QM: |  |
| QM-protcol-number., date: | , |
| Date, Signature head of test laboratory / head of QM: | , |

The following characteristics of the manufacturing supervision have to be included in the QM-protocol:

| characteristics |  | page of the QM-protocol |
| --- | --- | --- |
| Exterior measurement of the tester (H/B/T) [mm] |  |  |
| measurements of the interior combustion chamber (H/B/T) [mm] |  |  |
| Merchandise income control sheet steel / ladle |  |  |
| Leakage of the reference appliance from manufacturing [m³/h] |  |  |
| Leakage of appliances of the manufacturing [m³/h] |  |  |

# Annex D – Application form for recognition of an in-house inspection body by HKI

| Applicant: |  |
| --- | --- |

| Date of application: |  |
| --- | --- |

| Date of assessment of the test laboratory: |  |
| --- | --- |

| assessor: |  |
| --- | --- |

The test components for evaluating the testing laboratory of HKI are the basic principle for the assessment.

For the evaluation, all documents of the testing laboratories must be available in German or English.

# HERSTELLERERKLÄRUNG

| Firma: |  |
| --- | --- |
| Typenbezeichnung: |  |
| (Prüf)Bericht-Nr., Datum: | , |

Hiermit wird bestätigt, dass die folgenden Anforderungen erfüllt und eingehalten werden:

Dauerbeständigkeit:

  - Das vor der Typprüfung eine nachweisliche Vorbelastung des Prüflings

    - von min. 8 Stunden NWL-Prüfung  / min. 4,5 Stunden Sicherheitsprüfung		 /

des Geräts

    - bei der Prüfstelle (NB)  /  im  Herstellerwerk						 /

stattgefunden hat.

  - Alle durch Feuer/Heizgas thermisch belasteten metallischen Komponenten eine Mindestwandstärke von 2 mm aufweisen.

Aufstell- und Bedienungsanleitung:

  - In den Aufstell- und Bedienungsanleitungen sind folgende Informationen enthalten:

    - Empfehlung einen Zugregler zu installieren

    - Hinweis zum (langsamen) Öffnen der Türen und zum Öffnen eines Fensters zwecks Nachlegens des Brennstoffs zur Vermeidung von möglichem Heizgasaustritts

    - Hinweise zu einem möglichen Kondensatanfall im Schornstein sowie zu einer ggf. notwendigen Schornsteinsanierung gegeben werden sofern der Wirkungsgrad > 80% und die Abgastemperatur < 170°C (in der Messstrecke) ist

    - Einseitige Kurzanleitung mit Bildern inklusive der Beschreibung zum richtigen Anzünden mit dem Gerät (Muster liegt dem Antrag bei)

    - Information (entweder Link, QR-code oder CD) zu den Broschüren "Richtig Heizen mit Holz" und "Richtig heizen mit Braunkohlebriketts"

Place and date

| stamp and signature of the manufacturer |  |
| --- | --- |

Wir bestätigen mit unserer Unterschrift rechtsverbindlich, dass die Produkte des oben genannten Typs noch immer wie die typgeprüften Produkte hergestellt werden.

Wir bestätigen weiterhin, dass wir die Grundlagen der Zertifizierung, insbesondere Abschnitt 8.8 anerkennen.